MADHAV INTERNATIONAL SCHOOL
FIRE SAFETY POLICY
Academic Year: 2026–27

1. Purpose

The school shall maintain appropriate fire-safety measures to protect students, staff and school property.

2. Fire Safety Measures

The school shall ensure:

- Fire extinguishers and fire-safety equipment are available at designated locations.

- Emergency exits and evacuation routes remain accessible.

- Fire-safety equipment is periodically inspected and maintained.

- Students and staff are made aware of fire-safety procedures.

- Fire evacuation/mock drills are conducted periodically.

- Electrical and other potential fire hazards are monitored.

3. Emergency Response

In case of fire:

Raise Alarm → Inform Authorities → Evacuate Safely → Assemble at Designated Area → Headcount → Provide First Aid/Support

Students shall not use lifts or return to the building during evacuation unless authorised.

Approved by: Principal / School Management
Date: ____________
School Seal: ____________